Price list no. 8554E/1.09

valid from January 1st. 2009

replaces price list no. 8554/1.08

#### A e r o t e s t   S i m u l t a n

for the quantitative analysis of
water vapour, oil contents, carbon monoxide and carbon dioxide

With the Aerotest Simultan HP Impactor the breathing air quality of a high pressure system (compressor or storage cylinder) can be determined. Aerotest Alpha can determine the quality
of a low pressure system (compressor, storage cylinder or compressed-air ductwork system).

| Model | admissible pressure | connection | weight approx. | dimensions | price |
| --- | --- | --- | --- | --- | --- |
| Designation/ order no. | max. bar |  | kg/lbs | (l x w x h) cm | € |
| Aerotest HP Simul.Impactor N 31565 | max. 300 | G 5/8 “ | 3/6,5 | 30 x 36 x 8 | 1.730,-- |
| Aerotest Alpha N 25537 | max. 15 | press-fit nipple | 3/6,5 | 30 x 36 x 8 | 1.100,-- |

Scope of delivery:

Aerotest Simultan HP Impactor,

consisting of:

hard-top case, complete with

- measuring device with 4 test tube holders (1)

- pressure reducer (2)

- stopwatch (3)

- tube opener (4)

- two adapters for connecting the pressure

reducer to a 200 bar system or a 300 bar system (5)

-	set of test tubes, carbon dioxide 100/a-P (6)

-	set of test tubes, carbon monoxide 5/a-P (6)

- set of test tubes, water vapour 20/a-P (6)

- set of impactors for measurement of synthetic

and mineral oil (7)

- impactor adapter (8)

- five air filter

- bubble-test hose

- instruction manual

Aerotest Alpha

Scope of delivery same as Aerotest Simultan HP Impactor, however without pressure reducer.

spare parts  - consumables (test tubes and Impactors)

|  | order no. | price € / set |
| --- | --- | --- |
| water vapour (H2O) | N 25535 | 60,-- * |
| Oil contents | N 15521 | 78,-- * |
| Carbon dioxide (CO2) | N 15522 | 75,-- * |
| Carbon monoxide CO) | N 15523 | 60,-- * |
| Impactor-adapter | N 31184 | 46,-- |
| Impactors | N 31173 | 80,-- * |

* 1 set = 10 tubes/Impactors

Modifications reserved.

Prices are to be understood ex works, packing included.

8554/14.10.08